## Worksheet
Generated by SolarQuotes.com.au: | Latest version here
Product Name | Alpha-ESS SMILE5 13.3 kWh | Alpha-ESS SMILE5 10.1 kWh | Alpha-ESS G3 10.1 kWh | Alpha-ESS T10 | Alpha-ESS SMILE-B3-PLUS | BYD Battery Box Premium HVM 13.8 | BYD Battery Box Premium HVM 11.0 | BYD Battery Box Premium HVM 8.3 | BYD Battery Box Premium HVS 12.8 | BYD Battery Box Premium HVS 10.2 | BYD Battery Box Premium HVS 7.7 | BYD Battery Box Premium HVS 5.12 | BYD Battery Box LVS 12 kWh | BYD Battery Box LVS 8 kWh | BYD Battery Box LVS 4 kWh | Delta BX 6.3AC | Delta BX 6.3AC + BX6.3EX | Dyness Powerbox | Energizer Homepower | Enphase IQ Battery 5P | Eguana Evolve | Eveready Energy Vault 5.1 | Eveready Energy Vault 10.2 | FIMER REACT 2 (4 kWh) | FIMER REACT 2 (8 kWh) | FIMER REACT 2 (12 kWh) | GenZ 48V 3kWh | Goodwe Lynx Home F G2 Series 12.8 | Goodwe Lynx Home F G2 Series 9.6 | Goodwe Lynx Home U Series | Growatt Ark 10.2L-A1 | Growatt Ark 10.2H | Growatt APX 10.0P-S1 | iStore Smart Battery (15 kWh) | iStore Smart Battery (10 kWh) | iStore Smart Battery (5 kWh) | Jinko SunTank 7.68 kWh | Jinko SunTank 10.24 kWh | Jinko SunTank 12.8 kWh | LG Chem RESU 6.5 | LG Chem RESU 10 | LG Chem RESU 12 | LG Chem RESU Prime 10H | LG Chem RESU Prime 16H | PowerPlus Energy LiFe Premium Series | Pylontech Force L2 10.65 kWh | Pylontech Force L2 7.1 kWh | Pylontech US3000 | Pylontech US2000B | QCells Q.HOME CORE | RedEarth Sunrise 6.5kWh | RedEarth Sunrise 13kWh | SOFAR PowerAll | SolarEdge Energy Bank | SolaX Triple Power 5.8 | Soltaro AIO2 5kW / 5kWh | Soltaro AIO2 5kW / 2 x 5kWh | Soltaro AIO2 5kW / 3 x 5kWh | Soltaro AIO2 5kW / 10kWh | Soltaro AIO2 5kW / 20kWh | Sonnenbatterie Evo | Sonnenbatterie Eco 9.43 | Sonnenschein PRO Series LIBS048200-GO4 | SunGrow SBR HV 12.8 kWh | SunGrow SBR HV 16 kWh | SunGrow SBR HV 9.6 kWh | Sunpower Reserve | Tesla Powerwall 2 | Tesla Powerwall 3 | VARTA Pulse 6 | WeCo Dual Voltage 5K3 | Zenaji Aeon
Manufacturer Logo
Product Image
Price excl. installation (Estimated Retail pricing in AUD incl. GST, unless stated otherwise) | $9,372 | $7,458 | $8,500 | $10,692 | $4,000 | $12,500 | $10,500 | $8,500 | $13,500 | $11,000 | $8,400 | $6,000 | $9,959 | $7,025 | $4,090 | $6,140 inc. VPP hardware | $13,500 inc. VPP hardware | $6,600 | $8,000 | $8,400 | $14,500 | $6,000 | $11,000 | $8341 | $13,676 | $19,000 | $2,500 | $8.100 | $6,300 | $3,000 | $9100 | $9100 | $9500 | $14,520 | $10,100 | $5,800 | $8000 | $10000 | $12000 | $4,800 | $6,800 | $8,600 | $9,500 | $13,100 | $3,550 | $11,000 | $8000 | $2,999 | $1,999 | $12,000 | $9,625 | $14,175 | $4,910 | $13,000 | $4,625 | $8,000 | $11,550 | $14,990 | $11,500 | $19,500 | $12,000 | $16,500 | $10,000 | $9,500 | $11,340 | $7,550 | $13,000 | $12,100 (Price includes 'Tesla Gateway') | Estimated: $12,100 including Gateway | $7,000 – $7,200 | $4,900 | $3,000
In Depth Analysis | Not yet | Not yet | Not yet | Not yet | Not yet | Not yet. | Not yet. | Not yet. | Not yet. | Not yet. | Not yet. | Not yet. | Not yet. | Not yet. | Not yet. | Not yet | Not yet | Yes, review here | Not yet | Not yet | Not yet. | Not yet | Not yet | Not yet | Not yet | Not yet | Not yet. | Not yet | Not yet | Not yet | Not yet. | Not yet. | Not yet. | Yes, review here. | Yes, review here. | Yes, review here. | Yes, review here. | Yes, review here. | Yes, review here. | Yes, review here. | Yes, review here. | Yes, review here. | Not yet | Not yet | Not yet. | Not yet. | Not yet. | Not yet. | Not yet. | Not yet. | Not yet. | Not yet. | Not yet. | Yes, review here. | Not yet | Not yet | Not yet | Not yet | Not yet | Not yet | Yes, review here. | Yes, review here. | Not yet | Not yet. | Not yet. | Not yet. | Not yet | Yes, review here. | Pre-release impressions here. | Not yet | Not yet | Yes, review here
Battery Type | Lithium Iron Phosphate | Lithium Iron Phosphate | Lithium Iron Phosphate | Lithium Iron Phosphate | Lithium Iron Phosphate | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-Ion NMC | Lithium-Ion NMC | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium Ion (NMC) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium Iron Phosphate | Lithium Iron Phosphate | Lithium Iron Phosphate | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium ion (Lithium ion phosphate) | Lithium ion (Lithium ion phosphate) | Lithium ion (Lithium ion phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-Ion (NMC) | Lithium-Ion (NMC) | Lithium-Ion (NMC) | Lithium-Ion (NMC) | Lithium-Ion (NMC) | Lithium-Ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-Ion (NCA) | NMC | NMC | Lithium-ion (Lithium Iron Phosphate) | NMC | NMC | Lithium Iron Phosphate | Lithium Iron Phosphate | Lithium Iron Phosphate | Lithium Iron Phosphate | Lithium Iron Phosphate | Lithium Iron Phosphate | Lithium Iron Phosphate | Lithium Iron Phosphate | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium-ion (Lithium Iron Phosphate) | Lithium Ion Phosphate | NMC | NMC | Lithium-Ion (lithium-mananese-cobalt-oxide) | Lithium-ion Nanographene Cell | Lithium Ion (Lithium Titanate)
All In One Unit? | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | Kind of. Includes AC battery inverter but requires solar inverter | Kind of. Includes AC battery inverter but requires solar inverter | No | No | No | Yes | No | No | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Kind of. Includes AC battery inverter but requires solar inverter. | Kind of. Includes AC battery inverter but requires solar inverter. | No | No | No | No | Yes | Kind of. Includes AC battery inverter but requires solar inverter. | Yes | Yes | No | No
Nominal Storage | 13.34 kWh | 10.08 kWh | 10.1 kWh | 8.2 kWh | 5.04 kWh | 13.80 kWh | 11.04 kWh | 8.28 kWh | 12.8 kWh | 10.24 kWh | 7.68 kWh | 5.12 kWh | 12 kWh | 8 kWh | 4 kWh | 6.32kWh | 12.64kWh | 9.6kWh | 6.14 kWh | 5.0 kWh | 13kWh | 5.12 kWh | 10.2 kWh | 4 kWh | 8 kWh | 12 kWh | 3kWh (per module) | 12.8 kWh | 9.6 kWh | 5.4 kWh | 10.24 kWh | 10.24 kWh | 10 kWh | 15 kWh | 10 kWh | 5 kWh | 7.68 kWh | 10.24 kWh | 12.8 kWh | 6.5 kWh | 9.8kWh | 13.1 kWh | 10 kWh | 16 kWh | 3.3 kWh | 10.65 kWh | 7.1 kWh | 3.55 kWh | 2.4kWh | 6.8 kWh | 6.5kWh | 13kWh | 5.12 kWh | 10 kWh | 5.8 kWh | 5kWh | 10kWh | 15kWh | 10kWh | 20kWh | 11 kWh | 15kWh | 9.6 kWh | 12.8 kWh | 16 kWh | 9.6 kWh | 10.1 kWh | 14 kWh | 14 kWh | 6.5 kWh | 5.46 kWh | 1.93kWh
Usable Storage Capacity | 13.3 kWh | 9.07 kWh | 9.6 kWh | 7.8 kWh | 4.79 kWh | 13.80 kWh | 11.04 kWh | 8.28 kWh | 12.8 kWh | 10.24 kWh | 7.68 kWh | 5.12 kWh | 11.5 kWh | 7.7 kWh | 3.84 kWh | 6.17kWh | 12.34kWh | 9.6kWh | 6.14 kWh | 5.0 kWh | 12.2kWh | 4.6 kWh | 9.18 kWh | 3.8 kWh | 7.6 kWh | 11.4 kWh | 2.7kWh (per module) | 12.8 kWh | 9.6 kWh | 4.8 kWh | 9.21 kWh | 9.21 kWh | 9 kWh | 15 kWh | 10 kWh | 5 kWh | 6.90 kWh | 9.21 kWh | 11.52 kWh | 5.9 kWh | 8.8kWh | 11.7 kWh | 9.6 kWh | 16 kWh | 2.64kWh | 10.1 kWh | 6.7 kWh | 3.2 kWh | 2.16kWh | 6.51 kWh | 5.2kWh | 10.4kWh | 4.75 kWh | 9.7 kWh | 5.8 kWh | 4.5kWh | 9kWh | 13.5kWh | 9kWh | 18kWh | 10 kWh | 13.5kWh | 7.68 kWh | 12.8 kWh | 16 kWh | 9.6 kWh | 9.6 kWh | 13.5 kWh | 13.5 kWh | 6 kWh | 5.2 kWh | 1.93kWh
Pros | UPS, fast response, 24/7 monitoring | UPS, fast response, 24/7 monitoring | UPS, fast response, 24/7 monitoring | Three-phase hybrid, UPS, fast response, 24/7 monitoring | Modular, UPS | Expandable in increments of 2.76 kWh | Expandable in increments of 2.76 kWh | Expandable in increments of 2.76 kWh | Expandable in increments of 2.56 kWh | Expandable in increments of 2.56 kWh | Expandable in increments of 2.56 kWh | Expandable in increments of 2.56 kWh | Units can be linked together in a parallel connection | Units can be linked together in a parallel connection | Units can be linked together in a parallel connection | Module made in Japan. Advanced safety features minimise fire risk, charges batteries from solar when grid is down. No cooling fans or cooling pumps. System, cell and cabinet have multiple safety features. Expandable to twice storage capacity with plug and play second DC coupled battery. More Master batteries stackable using gateway. | Module made in Japan. Advanced safety features minimise fire risk, charges batteries from solar when grid is down. No cooling fans or cooling pumps. System, cell and cabinet have multiple safety features. Second battery able to be installed in separate location for flexibility. Stack multiples of this or with BX6.3AC and gateway to increase AC and capacity | Can be used in both off-grid and hybrid setups, compact design, modular expansion | Modular | Modular | Modular, flexible, outdoor rated design for easy installation. Remote commissioning and troubleshooting with manufacturer support. Advanced auto-recovery controls avoid manual resets. Manufactured in South Australia. VPP-ready EMS | Modular | Modular | Modular (up to 12 kWh total) | Modular (up to 12 kWh total) | Modular (up to 12 kWh total) | Modular and scalable. | Modular, scaleable | Modular, scaleable | Modular, scaleable | Modular | Modular | Modular | Modular - expandable | Modular - expandable | Modular - expandable | Modular | Modular | Modular | Can be used in both off-grid and hybrid setups, compact size, modular expansion. | Can be used in both off-grid and hybrid setups, compact size, modular expansion. | Can be used in both off-grid and hybrid setups, compact size, modular expansion. | High voltage (more efficient) | High voltage (more efficient) | Self-managed and infinitely stackable. Rack mountable. | Modular | Modular | Scalable, Integrated BMS, good cost-per-kWh | Safest Lithium Chemistry, Scalable, Integrated BMS, good cost-per-kWh | All in one solution from Qcells – solar inverter included. Modular up to 20.5 kWh. | Made in Australia (battery cells from LG Chem), Expandable design, VPP ready, quick install. | Made in Australia (battery cells from LG Chem), Expandable design, VPP ready, quick install. | Modular, expandable, 10ms switchover in blackout | Modular expansion up to 30 kWh | Modular battery with scalability of capacity & charge/discharge power, higher charge & discharge power, Plug and play installation | DC & AC Coupled, Standalone, Wall Mountable, Expandable, Indoor or Outdoor, Low Noise | DC & AC Coupled, Standalone, Wall Mountable, Expandable, Indoor or Outdoor, Low Noise | DC & AC Coupled, Standalone, Wall Mountable, Expandable, Indoor or Outdoor, Low Noise | DC & AC Coupled, Standalone, Wall Mountable, Expandable, Indoor or Outdoor, Low Noise | DC & AC Coupled, Standalone, Wall Mountable, Expandable, Indoor or Outdoor, Low Noise | VPP ready, Made in Germany , IP 56 rated, integrated backup, can charge batteries from solar when grid is down | Made in Germany, long cycle life, great warranty | Modular, scalable | Modular, expandable | Modular, expandable | Modular, expandable | All-in-one | Advanced safety features minimise fire risk, charges batteries from solar when grid is down, impressive warranty | 6 MPPT's, higher output current | Ease of installation through "plug and play", German designed and manufactured. | A dual voltage (LV and HV) DC battery system compatible to a wide range of inverter chargers which is modular and scalable. The modules can be wall mounted, floor mounted in horizontal or vertical stack or rack mounted as well installed in either parallel or series. Wireless monitoring for real time access and maintenance and inbuilt BMS. | 20 year warranty, low battery degradation over time, designed to handle multiple cycles per day.
Cons | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | Not currently able to measure third part inverter AC output for display in app | Not currently able to measure third part inverter AC output for display in app | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | Only compatible with iStore inverters | Only compatible with iStore inverters | Only compatible with iStore inverters | TBD | TBD | TBD | Battery is warranted to 45ºC ambient | Battery is warranted to 45ºC ambient | Battery is warranted to 45ºC ambient | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | Backup power only 3kW | Backup power only 3kW | TBD | Only compatible with SolarEdge inverters, extra expense required for backup functionality | Only compatible with SolaX inverters | Lower charge power compared to discharge | Lower charge power compared to discharge | Lower charge power compared to discharge | TBD | TBD | TBD | Relatively low power output – max 3.3kW | TBD | Only compatible with Sungrow hybrid inverters | Only compatible with Sungrow hybrid inverters | Only compatible with Sungrow hybrid inverters | TBD | TBD | TBD | Does not provide backup. | TBD | apply the full 10 year warranty to the Powerbox battery inverter. Expensive compared to other lithium technologies
Weight | 148 kg | 122.7 kg | 109.5 kg | 105 kg | 64kg | 205 kg | 167 kg | 129 kg | 205 kg | 167 kg | 129 kg | 91 kg | 136 kg | 94 kg | 52 kg | 77kg | 77kg + 60kg (137kg Total Combined) | 113kg | 98.5 kg | 78 kg | 168kg | 64 kg | 112 kg | 72 kg | 122 kg | 172 kg | 35kg | 154 kg | 120 kg | 57 kg | 140 kg | 118 kg | 118 kg | 163.8 kg | 113.8 kg | 63.8 kg | 84 kg | 112 kg | 140 kg | 52kg | 75kg | 98.5kg | 111kg | 159kg | 41kg | 119 kg | 84 kg | 32kg per battery | 27kg per battery | 98.6 kg | 130 kg | 180 kg | 74.5 kg | 108 kg | 72 kg | 79kg | 124kg | 169kg | 119kg | 204kg | 163 kg | 200kg | 140 kg | 147 kg | 180 kg | 114 kg | 110 kg | 125kg | 130kg | 65kg | 57.3 kg | 36kg
Power | 5 kW | 5 kW | 5 kW | 10 kW | 3 kW | 7.6 kW | 7.6 kW | 7.6 kW | 5 kW | 5 kW | 5 kW | 5 kW | 9.9 kW | 6.6 kW | 3.3kW | 3kW steady | 4.5kW steady | 4.8kW | 3.6 kW | 3.84 kW | 5 kW steady, 6kW (30 minutes), 8.5kW (3 seconds). | 3 kW | 3 kW | 2 kW | 4 kW | 5 kW | 3kW | 8.96 kW | 6.72 kW | 2.88 kW (max 5.6kW with multiple units) | 5 kW | 5 kW | 5 kW | 5 kW | 5 kW | 2.5 kW | 3.84 kW | 5.1 kW | 5.1 kW | 4.2kW steady, 4.6kW peak (for 3 seconds) | 5kW steady, 7kW peak (3 seconds) | 5kW | 5kW | 7kW | 3.3kW | 5 kW | 3.3 kW | 2kW continuous per module (stacks with each additional module) | 2kW continuous per module (stacks with each additional module) | 5 kW | 5kW | 5kW | 5 kW | 5 kW | 2.9kW | 2.56kW charge, 5.12kW discharge | 2.56 kW Charge, 5.12 kW Discharge | 2.56 kW Charge, 5.12 kW Discharge | 5kW | 5kW | 5kW steady , 5.3kW (for 30 min), 7kW peak (for 60 sec) | 3.3kW | 5.76 kW | 7.68 kW | 9.6 kW | 5.76 kW | 5kW | 5kW steady, 7kW peak (10 seconds) | 9.6kW likely | 2.5 kW | 5.7kW continous, 10kW peak for 5 seconds | 2.4kW
Dimensions (WHD) | 610 x 1443 x 236 mm | 610 x 1305 x 236 mm | 610 x 1168 x 230 mm | 580 x 1426 x 230 mm | 640 x 725 x 250 mm | 1411 x 585 x 298 mm | 1178 x 585 x 298 mm | 945 x 585 x 298 mm | 1411 x 585 x 298 mm | 1178 x 585 x 298 mm | 945 x 585 x 298 mm | 712 x 585 x 298 mm | 923 x 640 x 298 mm | 690 x 640 x 298 mm | 457 x 640 x 298 mm | 570 x 840 x 250 mm | 570 x 840 x 250 mm + 570 x 600 x 230 mm | 92cm x 55cm x 21cm | 1244 x 420 x 183 mm | 980 x 550 x 188 mm | 110cm x 78cm x 40cm | 738 x 650 x 186 mm | 1160 x 650 x 186mm | 740 mm x 490 mm x 229 mm (inverter) 740 mm x 490 mm x 229 mm (battery unit) | 740 mm x 490 mm x 229 mm (inverter) 740 mm x 490 mm x 229 mm (per battery unit) | 740 mm x 490 mm x 229 mm (inverter) 740 mm x 490 mm x 229 mm (per battery unit) | 42cm x 8.8cm x 57cm | 600 × 871 × 380 mm | 600 × 715 × 380 mm | 505 × 175 × 570 mm | 650 x 260 x 728 mm | 650 x 260 x 905 mm | 690 x 185 x 955 mm | 670 x 150 x 1320 mm | 670 x 150 x 960 mm | 670 x 150 x 600 mm | 650 x 260 x 547 mm | 650 x 260 x 728 mm | 650 x 260 x 909 mm | 45cm x 65cm x 12cm | 45cm x48cm x 23cm | 45.2cm x 62.6cm x 22.7 cm | 50 cm x 81 cm x 30 cm | 50 cm x 100 cm x 30 cm | 43cm x 8.8cm x 62cm | 600 x 380 x 700 mm | 600 x 380 x 530 mm | 44cm x 13cm x 42cm | 44cm x 9cm x 41cm | 92cm x 70cm x 23cm | 104 cm x 97 cm 54 cm | 104 cm x 97 cm 54 cm | 708 x 170 x 890 mm | 790 x 1179 x 250 mm | 474 x 193 x 708 mm | 54cm x 105cm x 22cm | 54cm x 105cm x 22cm | 54cm x 105cm x 22cm | 54cm x 130cm x 22cm | 54cm x 130cm x 22cm | 710mm x 1400mm x 427mm | 67cm x 186cm x 23cm | 550 x 1150 x 286 mm | 62 cm x 67 cm x 33 cm | 62 cm x 80 cm x 33 cm | 62 cm x 54 cm x 33 cm | 610 mm x 1226 mm x 212 mm | 75 cm x 115 cm x 15cm | 60 cm x 110 cm x 18cm | 60cm x 69cm x 19cm | 580 x 463 x 165 mm | 160cm x 15cm x 14cm
Round Trip Efficiency | 92.72% | 92.72% | 92.15% | 93.48% | 89.78% | ≥96% | ≥96% | ≥96% | ≥96% | ≥96% | ≥96% | ≥96% | ≥95% | ≥95% | ≥95% | 96% | 96% | TBD | 94% | 96% | >90% AC->AC | TBD | TBD | TBD | TBD | TBD | 96% | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | 95% | 95% | 95% | 95% | 95% | >96% | TBD | TBD | TBC | TBC | 94.2% | TBD | TBD | 97.70% | 93.3% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95.3% | TBD | TBD | TBD | 96% | 90% when new | TBD | TBD | TBD | 96%
Off-grid Capable? | Yes (back-up built in) | Yes (back-up built in) | Yes (back-up built in), Can communicate with Generator | Yes (back-up built in) | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes (back-up built in) | Yes (back-up built in) | Yes | TBD | TBD | Yes | No | No | TBD | TBD | TBD | Yes | TBD | TBD | No | TBD | TBD | TBD | Yes | Yes | Yes | TBD | TBD | TBD | Yes | Yes | Yes | Yes | Yes | Yes | TBD | TBD | EPS capable with SolaX Power inverters | EPS capable with SolaX Power inverters | TBD | No | No | No | No | No | Yes | Yes | Yes | Yes | Yes | TBD | TBD | Yes | Yes | Yes | Yes | TBD | Yes - but Tesla won't provide support for off-grid applications. | TBD | No | Yes | Yes
Designed for indoor or outdoor installation? (IP rating) | Indoor/Outdoor (IP65) | Indoor/Outdoor (IP65) | Indoor/Outdoor (IP65) | Indoor/Outdoor (IP65) | Indoor/Outdoor (IP65) | Indoor/outdoor (IP 55) | Indoor/outdoor (IP 55) | Indoor/outdoor (IP 55) | Indoor/outdoor (IP 55) | Indoor/outdoor (IP 55) | Indoor/outdoor (IP 55) | Indoor/outdoor (IP 55) | Indoor/outdoor (IP 55) | Indoor/outdoor (IP 55) | Indoor/outdoor (IP 55) | Indoor/outdoor (IP 65) | Indoor/outdoor (IP 65) | Indoor/outdoor (IP 65) | Indoor/Outdoor (IP 65) | Indoor/Outdoor (IP55) | Indoor/outdoor (IP34) | Indoor/Outdoor (IP 65) | Indoor/Outdoor (IP 65) | Indoor (IP 54) | Indoor (IP 54) | Indoor (IP 54) | Indoor (IP 50) | Indoor/Outdoor (IP 55) | Indoor/Outdoor (IP 55) | Indoor/Outdoor (IP 65) | Indoor/Outdoor (IP 65) | Indoor/Outdoor (IP 65) | Indoor/Outdoor (IP 66) | Indoor/outdoor (IP 66) | Indoor/outdoor (IP 66) | Indoor/outdoor (IP 66) | Indoor/Outdoor (IP 65) | Indoor/Outdoor (IP 65) | Indoor/Outdoor (IP 65) | Indoor/Outdoor (IP 55) | Indoor/Outdoor (IP 55) | Indoor/Outdoor (IP 55) | Indoor/Outdoor (IP 55) | Indoor/Outdoor (IP 55) | Indoor (IP40) | Indoor/Outdoor (IP 55) | Indoor/Outdoor (IP 55) | Indoor (IP 20) | Indoor (IP 20) | Indoor/Outdoor (IP65) | Indoor/Outdoor IP43 | Indoor/Outdoor IP 43 | Indoor/outdoor (IP 65) | Indoor/outdoor (IP 55) | IP55 Outdoor | Indoor/Outdoor (IP65) | Indoor/Outdoor (IP65) | Indoor/Outdoor (IP65) | Indoor/Outdoor (IP65) | Indoor/Outdoor (IP65) | Indoor/Outdoor (IP 56) | Indoor (IP 30) | Indoor/Outdoor (IP 55) | Indoor/outdoor (IP 55) | Indoor/outdoor (IP 55) | Indoor/outdoor (IP 55) | Indoor/Outdoor (IP65) | Indoor/Outdoor (IP 67 for battery and electronics, IP56 for wiring) | TBD | Indoor (IP33) | Indoor IP23 | Indoor/Outdoor (IP 65)
Operating temperature range | -10 °C ~ 50°C* | -10 °C ~ 50°C* | -10 °C ~ 50°C* | -10 °C ~ 50°C* | -10 °C ~ 50°C* | -10 °C to +50°C | -10 °C to +50°C | -10 °C to +50°C | -10 °C to +50°C | -10 °C to +50°C | -10 °C to +50°C | -10 °C to +50°C | -10 °C to +50°C | -10 °C to +50°C | -10 °C to +50°C | -10 ~ 45 ℃ | -10 ~ 45 ℃ | -20°C to 50°C | Charge: 0°C to 45°C | -20º C to 50º C | -10ºC to 45ºC | 0°C~45°C | 0°C~45°C | -20 +55°C | -20 +55°C | -20 +55°C | 0°C to 55°C | 0~50°C | 0~50°C | 0~50°C | -10°C~+50°C | -10°C~+50°C | -10°C~+50°C | -20-℃～ + 55℃ | -20-℃～ + 55℃ | -20-℃～ + 55℃ | -10°C ~ 50°C | -10°C ~ 50°C | -10°C ~ 50°C | -10°C to 45°C | -10°C to 45°C | -10°C to 50°C | -10°C to 50°C | -10°C to 50°C | Charge 0°C to 55°C / Discharge -20°C to 60°C | 0°C to 50°C | 0°C to 50°C | 0°C to 50°C | 0°C to 50°C | -10°C to 45°C | 0°C-45°C | 0°C-45°C | -10 °C to +50°C | -10-℃～ + 50℃ | 0°C to 55°C | -20°C to 55°C | -20°C to 55°C | -20°C to 55°C | -20°C to 55°C | -20°C to 55°C | -10°C to 50 °C | -5°C to 45 °C | -10~45°C | -30°C to 50°C | -30°C to 50°C | -30°C to 50°C | 0 to 50 °C | -20°C to 50°C | -20°C to 50°C | 5°C to 45°C | -10°C~+50°C | -40°C to 60°C
Warranty | 5 years product warranty, 10 years performance warranty | 5 years product warranty, 10 years performance warranty | 5 years product warranty, 10 years performance warranty | 5 years product warranty, 10 years performance warranty | 5 years product warranty, 10 years performance warranty | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 15 years | 10 years | 7 years | 7 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 60% capacity at 10 years or 20,000 kWh throughput whichever comes first | 60% capacity at 10 years or 30,000 kWh throughput whichever comes first | 10 years | 10 years or 32,000 kWh, whichever comes first | 10 years or 54,000 kWh, whichever comes first | 10 years | 10 years | 10 years | 7 years product warranty | 7 years product warranty | 15 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years or 10,000 cycles, whichever comes first | 10 years or 10,000 cycles, whichever comes first | 10 years | 10 years | 10 years | 10 years | 10 years | 10 years | TBD | 7 years (inverter), 10 years (battery) | 10 years | 20 years
Compatible with what hybrid inverter brands? (Non-All In One units only) | N/A | N/A | N/A | N/A | N/A | Fronius | Fronius | Fronius | N/A | N/A | N/A | N/A | N/A | N/A | N/A | AS4777.2.2015 compliant inverters up to 5kw AC single phase | AS4777.2.2015 compliant inverters up to 5kw AC single phase | Goodwe, Victron, Imeon, Solis, Growatt | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Any inverter brand that handles lead acid battery with the the right charging parameter to suit the self managed lithium module. | Goodwe | Goodwe | Goodwe | Growatt | Growatt | Growatt | iStore | iStore | iStore | Jinko | Jinko | Jinko | LGES, Goodwe, Sungrow, SMA, Selectronic, Solis | LGES, Goodwe, Sungrow, SMA, Selectronic, Solis | LGES, Goodwe, Sungrow, SMA, Selectronic, Solis | SolarEdge, SMA, GE | SolarEdge, SMA, GE | Any brand that can handle charging self managed lithium ion batteries (Selectronic, Victron, SMA SI, Outback, Schneider, Studer, etc) | SolaX, Goodwe, Imeon, Selectronic, Redback, Sungrow | SolaX, Goodwe, Imeon, Selectronic, Redback, Sungrow | SolaX, Goodwe, Imeon, Selectronic, Redback, Sungrow | SolaX, Goodwe, Imeon, Selectronic, Redback, Sungrow | N/A | N/A | N/A | N/A | SolarEdge | SolaX only | NA | NA | NA | NA | NA | N/A | N/A | Deye, Goodwe, SMA, Solis | Sungrow | Sungrow | Sungrow | N/A | N/A | N/A | N/A | "Schneider XW, Solis LV All, Growatt SPH LV SMA Sunny Island, Goodwe S-All LV Hybrid, Sofar Solar All, Victron Energy, Solax Power SKU-LV All, Sungrow SH3K6+SH4K6. | Victron, Goodwe, Sungrow, Schneider
AC or DC coupled? (All In One systems only) | AC/DC/Hybrid coupling available | AC/DC/Hybrid coupling available | AC/DC/Hybrid coupling available | AC/DC/Hybrid coupling available | AC coupled | DC coupled | DC coupled | DC coupled | N/A | N/A | N/A | N/A | N/A | N/A | N/A | AC Coupled | AC Coupled | N/A | AC Coupled | AC Coupled | AC coupled | N/A | N/A | Can be AC or DC coupled | Can be AC or DC coupled | Can be AC or DC coupled | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | DC | DC | N/A | N/A | N/A | N/A | N/A | DC coupled | DC coupled | DC coupled | DC Coupled | N/A | N/A | DC coupled | DC coupled | DC coupled | DC coupled | DC coupled | AC coupled | AC coupled | N/A | N/A | N/A | N/A | DC coupled | AC coupled | DC coupled | AC coupled | N/A | N/A
Total warranted kWh (1 cycle per day) | 24,272 | 16,552 | 17,520 | 14,235 | 8,741 | 42,690 | 34,150 | 25,620 | 38,530 | 30,820 | 23,120 | 15,410 | 35,640 | 23,760 | 11,800 | 19,800 | 39,600 | 35,040 | 22,411 | 30,000 | 38,400 | 11,753 | 23,454 | 13,870 | 27,740 | 41,610 | 9855 | 33,540 | 25,160 | 12,420 | 33,616 | 33,616 | 32,850 | 49,350 | 32,900 | 16,450 | TBD | TBD | TBD | 16,100 | 24,300 | 39,000 | 32,000 | 54,000 | 9636 | 36,865 | 24,445 | 8,176 | 4,500 | 35,642 | 18,980 | 37,960 | 17,337 | 35,405 | 21,170 | 16,425 | 32,850 | 49,275 | 32,850 | 65,700 | 36,500 | 49,275 | 31,080 | 46,720 | 58,400 | 35,040 | 35,040 | 37,000 | TBD | 14,946 | 18,980 | 14,089
Datasheet Supplied? | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | TBD | Yes | Yes | Yes
Warranty Supplied? | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | TBD | Yes | Yes | Yes
Cost per Total Warranted kWh (1 cycle per day) | $0.39 | $0.45 | $0.49 | $0.75 | $0.46 | $0.29 (+ inverter cost) | $0.29 (+ inverter cost) | $0.31 (+ inverter cost) | $0.35 (+ inverter cost) | $0.36 (+ inverter cost) | $0.36 (+ inverter cost) | $0.39 (+ inverter cost) | $0.28 (+ inverter cost) | $0.30 (+ inverter cost) | $0.35 (+ inverter cost) | $0.31 (+ inverter cost) | $0.34 | $0.19 (+ inverter cost) | $0.36 | $0.28 | $0.37 | $0.51 | $0.47 | $0.60 | $0.49 | $0.46 | $0.25 (+ inverter cost) | $0.24 (+ inverter cost) | $0.25 (+ inverter cost) | $0.24 (+ inverter cost) | $0.27 | $0.27 | $0.29 | $0.29 (+ inverter cost) | $0.31 (+ inverter cost) | $0.35 (+ inverter cost) | TBD | TBD | TBD | $0.30 (+ inverter cost) | $0.28 (+ inverter cost) | $0.22 (+ inverter cost) | $0.30 (+ inverter cost) | $0.24 (+ inverter cost) | $0.37 (+ inverter cost) | $0.30 (+ inverter cost) | $0.33 (+ inverter cost) | $0.37 (+ inverter cost) | $0.44 (+ inverter cost) | $0.34 | $0.51 | $0.37 | $0.28 | $0.37 | $0.22 (+ inverter cost) | $0.43 | $0.34 | $0.30 | $0.34 | $0.29 | $0.32 | $0.34 | $0.32 (+ inverter cost) | $0.20 (+ inverter cost) | $0.19 (+ inverter cost) | $0.22 (+ inverter cost) | $0.37 | $0.33 | TBD | $0.48 | $0.26 | $0.21 (+ inverter cost)
More information on brand | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here | Here